# Intelligent Water Management and Monitoring System

## Proposed Title of the Invention

Intelligent Water Management and Monitoring System

## Proposed Abstract of the Invention

The Intelligent Water Management and Monitoring System ensures efficient, sustainable, and safe water usage through smart control and monitoring. Using ESP32 as the central controller, it maintains the water level in the source tank with PID control, supplies water to the receiver tank, and monitors water flow to detect leaks in real time. Once the water reaches the receiver tank, turbidity and TDS sensors assess water quality for purity. The system can send instant alerts and take corrective actions, ensuring minimal wastage and promoting responsible water consumption. This integrated IoT-based solution aligns with national and global sustainability goals.

## Background of the Invention (Present State of Art)

Existing water management systems primarily focus on either maintaining tank levels or detecting leakages, but not both in an integrated way. Conventional systems rely on mechanical float valves, manual monitoring, or simple timers that lack accuracy and automation. Water wastage through unnoticed leakages and the use of contaminated water remain significant issues. Current water quality tests are often manual, time-consuming, and not integrated into household systems. Thus, there is a need for an automated, intelligent solution that simultaneously maintains water levels, detects leakages, and monitors quality in real time using IoT-based technologies.

## Problems Addressed and Solution Offered

Problems in Existing Systems:

- Manual or limited automation in tank level control.
- Lack of real-time leakage detection.
- Inaccessible or delayed water quality testing.
- No unified monitoring and alert system.

How the Invention Overcomes These:

The proposed invention integrates all three key aspects — water level control, leakage detection, and quality monitoring — into one IoT-enabled system. The ESP32 microcontroller manages data from ultrasonic, flow, TDS, and turbidity sensors. Using PID control, it maintains precise water levels, detects flow irregularities to identify leaks, and analyzes water quality parameters automatically. Instant alerts via buzzer or IoT platforms (like Blynk or ThingSpeak) help users respond quickly, minimizing waste and ensuring safety.

## Detailed Explanation of the Invention

1. System Overview

The system uses an ESP32 microcontroller as the core control and communication unit. Sensors are connected to monitor tank level, flow rate, and water purity. Based on sensor readings, ESP32 executes control logic and triggers actuators or alerts.

2. Components Used

- ESP32 Microcontroller
- Ultrasonic Sensor
- Water Flow Sensor
- TDS Sensor
- Turbidity Sensor
- L298N motor driver
- DC Motor Pump
- Power Supply (5V/12V)
- IoT Platform (Blynk/ThingSpeak/MQTT)

3. Working Mechanism

Phase 1: Ultrasonic sensor measures the source tank water level. PID control algorithm adjusts the pump operation to maintain optimal levels.
Phase 2: Flow sensor compares expected and actual water flow. Significant deviation triggers leakage alerts.
Phase 3: TDS and turbidity sensors continuously measure water quality in the receiver tank.
Phase 4: IoT connectivity allows users to view data and alerts in real time.

4. Example Scenario

If the flow sensor detects continuous flow even when the pump is off, the system recognizes this as leakage. The relay deactivates water supply, buzzer sounds, and a mobile alert is sent. Similarly, if TDS or turbidity exceeds safe thresholds, the user receives a warning message and can stop water use immediately.

## Proposed Claims

1. A smart integrated system that combines water level control, leakage detection, and water quality monitoring in real time.
2. Use of ESP32 with PID control for automatic tank water regulation.
3. Real-time leakage detection through flow rate deviation analysis.
4. IoT-based monitoring and alerting through cloud platforms.
5. Automated action (pump/valve control) based on leakage or contamination detection.

## Novelty and Inventiveness Search

No identical prior invention was found combining level control, leakage detection, quality testing, and IoT integration in one system. Databases referred: Google Scholar, IEEE Xplore, ScienceDirect, and PatentScope.

## Inventiveness Evaluation

A person of average skill in electronics or IoT design would not easily arrive at this solution, since the combination of PID-based control, real-time flow comparison for leakage, and water quality sensors in a unified IoT setup requires multidisciplinary understanding.

## Broad Workable Ranges for Parameters

Tank Level: 20% – 95%
Flow Rate: 0.5 – 30 L/min
TDS Threshold: < 2500 ppm
Turbidity Threshold: < 15 NTU
PID Tuning Parameters: Kp = 1.0–3.5, Ki = 0.1–1.0, Kd = 0.05–0.8

## References

Jal Jeevan Mission (Government of India)
Atal Bhujal Yojana
Smart Cities Mission
Research papers on IoT-based water monitoring (IEEE Xplore, 2022–2024)

## Inventor Details

Sandesh Kumar Jha – Indian – Reg. No: 240961108

## Applicant Details

Manipal Academy of Higher Education, India
Manipal Institute of Technology,
Eshwar Nagar, Manipal,
Udupi, Karnataka – 576104

## Additional Notes/Remarks

This system is designed for scalability — it can be deployed in homes, apartments, industries, or municipal water systems. It aligns with national sustainability goals and can be enhanced with machine learning for predictive leak analysis in future versions.